## Slide 1: Introduction and Overview
NE 763: Advanced Reactor Materials and Materials Performance
Fall 2025
Dr. Benjamin Beeler

## Slide 2: Housekeeping
Course will be administered on Moodle
If you haven’t already checked Moodle, do so. If you are unsure how to access, then ask me
Lectures will be posted after the class (will try to get them posted before)
Also made a google group: https://groups.google.com/a/wolfware.ncsu.edu/g/ne763-fall-2025-everyone
Have also made a class slack channel for quick communication

## Slide 3: In Person/Hybrid
Lectures will be recorded and available on Panopto
All slides, and probably videos, will be available on moodle
I have a Zoom classroom set up to do simulcasting and redundant recording
Can attend in-person or remotely, but in-person is preferred

## Slide 4: Exams, Projects, Grading
Using the standard NCSU +/- grading system, as broken down in the syllabus
Four quizzes will be conducted during normal class hours – 20% each
One project presentation will be via PPT and conducted during normal class hours – 20%
No final exam
If this changes, sufficient advance notice will be given

## Slide 5: Office Hours
Set for Tuesdays 9:00-10:00 am
Additional meetings can be set up on request
  Don’t hesitate to schedule these

## Slide 6: Feedback
I will be reaching out for feedback periodically throughout the semester (probably twice)
I want this course to provide information that is currently not included in other courses, or to further expand upon materials issues that are briefly touched upon elsewhere
I want to make sure that this class is able to meet the needs of the students, provides relevant information, and is taught at a level commensurate with the abilities of the students, and I need your feedback to do that

## Slide 7: Syllabus
Course Overview
This course discusses materials evolution and performance in advanced reactor systems, addressing the current state of knowledge for advanced fuels, cladding, and coolants. Students will gain relevant knowledge to address advanced materials questions in the next generation of nuclear reactors. Systems of interest include high-temperature gas reactors, sodium-cooled fast reactors, molten salt reactors, small modular reactors, research reactors, and more.
Topical Outline
  Introduction
  TRISO/HTGRs
  SFRs
  Molten salts and Ceramics
  Research reactors
  Advanced reactor cladding
  Other stuff, if we have time

## Slide 8: Advanced reactor systems

## Slide 9: What do I mean by advanced reactors?
Several generations of reactors can be distinguished
Generation I reactors were developed in 1950-60s, and are no longer operational
Generation II reactors are the present US and French fleets and most in operation elsewhere

## Slide 10: What do I mean by advanced reactors?
Generation III or III+ have been constructed and typically have:
  A more standardized design for each type to expedite licensing, reduce capital cost and reduce construction time.
  A simpler and more rugged design, making them easier to operate and less vulnerable to operational upsets.
  Higher availability and longer operating life – typically 60 years.
  Further reduced possibility of core melt accidents
  Stronger reinforcement against aircraft impact than earlier designs, to resist radiological release
  Higher burn-up to use fuel more fully and efficiently and reduce the amount of waste.
  Greater use of burnable absorbers ('poisons') to extend fuel life

## Slide 11: Generation III Reactors
The greatest departure from Gen II reactors is the incorporation passive of safety features
Construction is often modular, allowing for offsite manufacturing and onsite assembly
Examples include AP1000, EPR, ABWR

## Slide 12: What do I mean by advanced reactors?
Generation IV
  designs are largely still conceptual
  typically incorporates six reactor designs
  four of these types are fast reactors
  all operate at higher temperatures
  all six systems represent advances in sustainability, economics, safety, reliability, and proliferation-resistance

## Slide 13: Selected Advanced Reactor Designs
PWR: Westinghouse: AP-1000, AP-600; Framatome: EPR; KHNP: APR+; Gidropress: VVER-1200
GCR: Framatome: SC-HTGR; GA: Prismatic HTR
SFR: CEA: ASTRID; JAEA: JSFR; GE-Hitachi: PRISM
MSR: Terrestrial: IMSR-400; Flibe Energy: LFTR; Seaborg: MSTW
Can consult the Advanced Reactors Information System (ARIS) from the IAEA for more information

## Slide 14: What do I mean by advanced reactors?
Small Nuclear Reactors
  Small Modular Reactors (SMRs)
  Micro-Reactors
Reduces the cost associated with building 1000 MW scale reactors, and can provide power away from large grid system
SMRs are 300 MWe or less, designed with modular technology using module factory fabrication, pursuing economies of series production and short construction times
Microreactors (or very small modular reactors vSMRs) are up to 25 MWe

## Slide 15: Small Nuclear Reactors

## Slide 16: DOE Push for Advanced Reactors
DOE is funding a lot of research into advanced reactor systems
The Advanced Reactor Demonstration Program (ARDP) seeks to rapidly develop advanced reactor concepts
The National Reactor Innovation Center (NRIC) supports the construction and demonstration of advanced reactor systems committed to demonstrating advanced reactors by the end of 2025
The Office of Advanced Reactor Technologies (ART) sponsors research, development and deployment (RD&D) activities, with a focus on advancing scientific understanding of these technologies, establishing an international network of user facilities for civil nuclear RD&D, improving economic competitiveness, and reducing the technical and regulatory uncertainties for deploying new nuclear reactor technologies

## Slide 17: Advanced Reactors in This Course
Generation IV or adjacent concepts:
  Sodium-cooled fast reactors
  Molten salt reactors (both salt-cooled and salt-fueled)
  Gas-cooled reactors (both fast and thermal spectra)
  Lead-cooled reactors
  Research reactors
  Supercritical water-cooled reactors (if we have time)
Many of these concepts overlap with SMRs
Will not touch on traditional UO2 fuel in LWRs, but touch on basically everything else

## Slide 18: Subject Matter
Explore unique aspects of each reactor type
Identify fuel and cladding materials relevant to each reactor design, with a general emphasis on fuels (but will still cover advanced cladding materials)
Explore materials challenges and materials phenomena impacting the performance, deployment, and lifetime of advanced reactors

## Slide 19: Questions?